## Slide 1
Land Use and Development Planning near Transmission Energy Pipelines
~ North Dakota~
Jan. 15, 2013
~ Impact Area , Natural Gas Transmission Pipeline Explosion
San Bruno, CA

## Slide 2
Introductions
Energy Pipelines 101
Energy Pipelines in North Dakota
Why are pipelines important?
Who regulates pipeline safety?
Roles local governments can play in pipeline safety?
  Land planning near pipelines
  Emergency response
  Excavation damage prevention
  Hazard mitigation planning
PIPA recommended practice examples
Resources for local governments
Agenda

## Slide 3: Energy Pipelines 101

## Slide 5
Natural Gas Pipeline Systems:
From the Wellhead to the Consumer

## Slide 6
HL products transported:
Gasoline
Diesel fuel
Kerosene
Natural gas
Heating oil
Propane
Aviation gasoline.
Jet fuel
Carbon dioxide (CO2)
Ethane
Crude oil
Coal
Liquefied natural gas (LNG)
Coal slurry
Petroleum Pipeline Systems:
From the Wellhead to the Consumer

## Slide 7
Pump Station & Tank Farm

## Slide 8
Compressor Station

## Slide 9
Valves

## Slide 10
City Gate Station
Odorant Tank
Line Heater
Meter and Regulator Runs

## Slide 11
Provides an indication of their presence (not exact location), product carried and the name and contact information of the company that operates the pipeline.
Pipeline markers are generally yellow, black and red in color.
Identifying Pipelines in The Field

## Slide 12: Energy Pipelines in North Dakota

## Slide 13
http://northdakotapipelines.com/maps/
https://www.dmr.nd.gov/pipeline/assets/pdf/05202010/2010%20ND%20Natural%20Gas%20Report.pdf

## Slide 14
http://www.dakotagas.com/Gas_Pipeline/CO2_Pipeline/index.html

## Slide 15
http://northdakotapipelines.com/maps/

## Slide 16
Typical Sequence of Petroleum Products Flow Through A Pipeline

## Slide 17
http://northdakotapipelines.com/maps/

## Slide 18: ND Transmission Pipeline Mileage by County
http://primis.phmsa.dot.gov/comm/reports/safety/ND_detail1.html

## Slide 19: Why Are Pipelines Important? Benefits and Risks

## Slide 20: Benefits and Risks of Pipelines
Benefits
Safe, secure, cost efficient transportation
Fuel for:
Motor vehicles, ships and airplanes
Heating, water heat, cooking, drying
Commercial – Bakery, dry cleaner, generators
Industrial – glass and aluminum manufacturing
Agricultural – corn dryer
Power plants
Military – largest single buyer in the world
Feedstock for food products, pharmaceuticals, plastics and resins
Risks
Life Safety (health effects, injury, fatality)
Environmental
Property Cultural/historical
Economic disruption or cessation
Loss of confidence in government/operator
Fear

## Slide 21: Serious Pipeline Incidents Nationally

## Slide 22
Pipeline Failures – Causes
http://primis.phmsa.dot.gov/comm/reports/safety/ALLPSIDet_2002_2011_ND.html?nocache=6656#_all

## Slide 23
Pipeline Failures – Gas Transmission
Appomattox, VA

## Slide 24
Pipeline Failures – Gas Transmission
Natural gas transmission pipeline fire in San Bruno, CA.

## Slide 25: Pipeline Failures - Natural Gas Distribution
Natural gas distribution explosion, Sept. 2, 2008 Fargo, ND.

## Slide 26
Pipeline Failures – Hazardous Liquid

## Slide 27
National and Jurisdiction-Specific Pipeline Risk
primis.phmsa.dot.gov/comm

## Slide 28: North Dakota - All Pipeline Incident Statistics

## Slide 29: Who Regulates Pipeline Safety?

## Slide 30: Who regulates pipelines…Federal
Office of Pipeline Safety
Hazardous Materials Safety

## Slide 31: Code of Federal Regulation Pipeline Safety - Title 49 Part 190 - 199

## Slide 32: North Dakota Pipeline Safety Regulation

## Slide 33: North Dakota Pipeline Safety Regulation

## Slide 34: North Dakota Pipeline Safety & Excavation Damage Prevention Codes
North Dakota pipeline safety codes are equivalent to the Federal codes.
Excavation Damage codes are under Chapter 49-23 One-call excavation notice system

## Slide 35: State & Local Government Role in Pipeline Safety
Public Awareness of Pipelines
Excavation Damage Prevention
Emergency Preparedness, Response, & Recovery
Land Use and Development Planning Authority…

## Slide 36: Pipeline Safety & Land Planning Authority

## Slide 37: Growth along a transmission pipeline in Washington State…
1990
2002

## Slide 38: Growth Near the Pipeline ROW

## Slide 39: Limit the negative impacts of land development near pipelines…

## Slide 40: Increases Likelihood of Excavation Damage
Impedes Access for Emergency Response & Safe Maintenance/Operation of the Pipeline

## Slide 41: Increased Consequences of Failure

## Slide 42: Choosing Better Options

## Slide 43
About the PIPA Report
  www.PIPA-Info.com
Created by a stakeholder group of ~130 participants representing a wide range of interests, organizations, and viewpoints on pipelines and community planning.
Scope: Existing Gas Transmission & Hazardous Liquid Pipelines
Stakeholders: Local Government, Property Developer/Owner, Pipeline Operator, Real Estate Commission
Scenarios: Baseline (implement in preparation for future) and New Development (Implement when use/development is proposed)
43 Recommended Practices
Notes: 43

## Slide 44
Obtain Transmission Pipeline Mapping Data
BL01 Obtain Transmission Pipeline Mapping Data

## Slide 45: Incorporate Pipeline Maps on Internal GIS Maps

## Slide 47: BL05 – Consultation Zone
Local governments should define a “consultation zone” to provide a mechanism for communication between property developers/owners and operators of nearby transmission pipelines when new land uses and property developments are being planned.
Absent site-specific information:
Natural Gas Pipelines = 660’-1,000’
Hazardous Liquid Pipelines = 1,000’-1,500’
Consultation Zone
Pipeline
Distance defined by local ordinance

## Slide 49: ND11 – Placing New Parking Lots
Reduce Transmission Pipeline Risk through Design and Location of New Parking Lots and Parking Structures

## Slide 50
…Evacuation routes should…have a safe means of egress with exits located where they would not be made inaccessible by the impacts of a pipeline incident…
ND22 Reduce Transmission Pipeline Risk through Design and Location of New Places of Mass Public Assembly

## Slide 51
  …cul-de-sac streets should not be designed crossing a transmission pipeline as the only route of ingress or egress…
ND17 Reduce Transmission Pipeline Risk in New Development for Residential, Mixed-Use, and Commercial Land Use

## Slide 52
Consider:
Locate structures away from ROW
Design alternate escape routes
Require more stringent fire protection e.g. automatic sprinklers, water screens, air handling/ventilation systems) and fire endurance (e.g. non-combustible construction, window limitation)
Avoid interference with pipeline operations and maintenance
Allow access for emergency response
Model fire, explosion, or toxic release impacts
ND17 Reduce Transmission Pipeline Risk in New Development for Residential, Mixed-Use, and Commercial Land Use

## Slide 53: ND24 Temporary Markers for Construction
Install Temporary Markers on
Edge of Transmission Pipeline Right-of-Way
Prior to Construction Adjacent to Right-of-Way

## Slide 54: ND 23 Consider Site Emergency Response Plans in Land Use Development
Access to shutoff valves
Access for emergency response personnel/equipment
Location/capacity of water supply/fire hydrants
Potential ICS, triage, and staging areas
…review of existing ROW can illustrate the benefit of land planning practices & identify locations for enhance emergency preparedness…

## Slide 55: Local Government Role & PHMSA Support ~ Emergency Response ~ Excavation Damage Prevention

## Slide 56: Emergency Response – Where We Are
Communities and their emergency responders are not always aware of pipeline safety concerns. Some reasons include:
  Catastrophic pipeline incidents are low-frequency, high-consequence events
  Pipelines are out of sight, out of mind
PHMSA requires pipeline operators to communicate directly with the emergency responders regarding safe and effective pipeline emergency response
  This communication is essential and part of a larger approach to preparing emergency responders for pipeline emergencies

## Slide 57: Where We’re Going
Goal: Reduce the consequences of pipeline failures by strengthening the capabilities of local emergency responders through institutionalizing pipeline awareness within the emergency response community.
PHMSA has undertaken a variety of initiatives and activities to assist with accomplishing the goal:
  Educating ourselves and the ER community by hosting/participating in pipeline ER forums
  Building partnerships and coordinating with pipeline ER stakeholders
  Actively communicating with the ER community via presentations at conferences and articles in trade publications
  Creating/enhancing pipeline ER resources

## Slide 58: PHMSA Pipeline Emergency Response Resources
Pipeline Emergencies training curriculum – www.pipelineemergencies.com
Emergency Response Guidebook (ERG) – updated and expanded pipeline pages
Hazardous Materials Cooperative Research Program – HM15

## Slide 59: More Information
Visit our website at http://opsweb.phmsa.dot.gov/pipelineforum/ pipeline_emergency_response_forum/index.html
Contact Sam Hall Phone: 804-556-4678 Email: sam.hall@dot.gov

## Slide 60: Focus on Damage Prevention: What we know
Excavation damage is a serious threat to public safety and pipeline integrity
Data indicates overall decrease in incidents caused by excavation damage, but still a serious threat
Excavation damage is largely preventable
All states have one call laws, one call centers, but state laws and programs vary considerably
More work to do, more support needed

## Slide 61: 20-Year Serious Incidents*
* Serious Incidents: Pipeline Release and fatality or injury

## Slide 62: Damage Prevention: What we’re doing
Providing Tools to build knowledge across the country
State/local outreach: meetings, letters of support, teleconferences, support of 811, sharing of information
  Regulatory actions – enforcement of one call laws
  Exemptions – Congressional directives
Grants to states
  Partnerships: States, Common Ground Alliance, Public, Trade Associations, Safety Organizations
  Seeking to expand outreach/partnerships – local government, agriculture, educators

## Slide 63: Questions/Discussion
For more information:
Annmarie Robertson Sam Hall
317-253-1622 804-556-4678
annmarie.robertson@dot.gov sam.hall@dot.gov
Resources (programs, data on pipeline facilities, incidents, enforcement, etc.)
http://www.phmsa.dot.gov/pipeline
http://primis.phmsa.dot.gov/comm/

## Slide 64: Hazard Mitigation Planning & Pipelines

## Slide 65
VDEM & PHMSA – Hazard Mitigation Plan

## Slide 66: Valuation Matrix

## Slide 67: North Dakota Multi-Hazard Mitigation Plan

## Slide 68: Resources for Local Governments

## Slide 69: PIPA Online Resources PIPA-info.com
Information about National Pipeline Risk
Notes: 69

## Slide 70
Similar to an Environmental Assessment Checklist
Can Be Used to:
Facilitate Communication
Inform Land Acquisition
Guide Pre-Planning &Design
Permit & Site Plan Review
Land Use & Development near Transmission Pipelines Checklist

## Slide 71
Perform a gap analyses comparing your community’s current practices to the PIPA recommended practices.
PIPA RP Evaluation Worksheet for Local Governments

## Slide 72
PIPA Model Ordinance – Appendix B in the PIPA Report
Municipal Research and Services Center of Washington
Examples of Land Use Ordinances
http://www.mrsc.org/subjects/pubsafe/transpipeords.aspx

## Slide 73: PIPA Promotional Material

## Slide 74: US DOT PHMSA Technical Assistance Grants
Purpose: to make grants to local communities and organizations for technical assistance related to pipeline safety issues (includes implementing PIPA RPs & enhancing hazard mitigation plans to incorporate pipelines)
Annual grants posted in January and awarded in September
Sign up for alerts when the solicitation is posted on http://www.grants.gov
CFDA number 20.710
Funding number DTPH56-12-SN-000001

## Slide 75: http://primis.phmsa.dot.gov/tag
View Previously Awarded TAG Reports

## Slide 77: Next Steps for Local Governments
Locate pipelines in you jurisdiction (NPMS)
Read the PIPA Report & Tools
Assess your communities level of risk tolerance for land use/development near pipelines
Put a plan in place to address your community’s needs using PIPA recommended practices
Consider pipelines in your hazard mitigation plan
Contact the pipeline operators in your area to inform them of the actions

## Slide 78: Questions?

## Slide 79: AICP #e.22486 or ILG Credits
Please visit the Certification Maintenance section of APA’s website (www.planning.org/cm) to claim your credits; you may use the following steps:
    (1) Login using your ID# and password.
    (2) Select My CM log
    (3) Select Add Credits
    (4) Under Browse you have the option of searching by Date, Provider, or Distance Education and using the search box to type in the name of the event or activity and clicking go
    (5) If you search Activities by Date, on the left of the calendar view, please use the “previous” and “next” options to locate the month. On the right of the calendar view, please use the “previous” and “next” options to select the year
    (6) If searching Activities by Provider, using the letters, please select the initial of the first name of the provider. From the list, then select the name of the provider
    (7) Select the “Past Events” tab to locate the event you have attended
    (8) If searching Distance Education, after selecting, you will see a list of all distance education activities. To select, click on the name of the activity
    (9) A pop-up box will appear.
    (10) Please rate, add a comment (optional), and click on the Ethics statement and answer
    (11) Click submit and the CM credits should appear in your CM log
If you have problems reporting your CM credits or have general questions about our CM program, please contact AICPCM@planning.org. APA’s customer service associates are available to assist you.
  No forms to complete if registered (if not registered, contact Jeff Eslinger at (800) 932-8730 or register online www.PIPA-Info.com then click on the link JANUARY 15, 2013, FOR NORTH DAKOTA)

## Slide 80: James Davenport jdavenport@naco.org Program Manager Community Services 202-661-8807 National Association of Counties (NACo)
Julie Halliday
Julie.Halliday@dot.gov Sr. Program Manager
Program Development 202-366-0287 US DOT PHMSA
PIPA-Info.com npms.phmsa.dot.gov
Thank you for your time and interest in pipeline safety!