## Title
PHMSA Project DTPH-5615H00007
Improving Leak Detection System Design, Redundancy and Accuracy
Examples and Templates
Requirements and Considerations
Kiefner & Associates
4480 Bridgeway Avenue, Suite D
Columbus, OH 43219
T +1 (614) 888-8220, F +1(614) 888-7323
www.kiefner.com
Kiefner and Associates, Inc. shall not be liable for any decisions made by the U.S. Department of Transportation, Pipeline and Hazardous Materials Safety Administration, (hereinafter referenced herein as PHMSA), using these Excel Spreadsheet calculations, known as “Requirements and Considerations for Leak Detection Systems.” Further, the equations contained in the Requirements and Considerations for Leak Detection Systems are confidential and the intellectual property of Kiefner and Associates, Inc. and shall be maintained by PHMSA in accordance with Agreement #DTPH5614H00007, “Improving Leak Detection System Design Redundancy and Accuracy” executed by and between Kiefner and Associates, Inc. and PHMSA on December 31, 2013, and any subsequent executed Modifications to same.

## General
Requirements and Considerations
Ref: API RP 1130
Complete List:
1 | Rate of False Alarms and Misses
2 | Instrument Accuracy
3 | Personnel Training and Qualification
4 | System Size and Complexity (Including Batch Line Factors)
5 | Leak Size vs. Leak Flow Rate
6 | Response Time
7 | Leak Location Estimation
8 | Detecting a Leak in Shut-in Pipeline Segments
9 | Detecting a Leak in Pipelines under a Slack Condition During Transients
10 | Sensitivity to Flow Conditions
11 | Multiphase Flow
12 | Robustness
13 | Availability
14 | Retrofit Feasibility
15 | Testing
16 | Cost
17 | Maintenance

## Service
API RP 1130 Reference
Fluid Transported
4 | System Size
4 | System Complexity
4 | Batch Operations
8 | Shut-in Segments
9 | Slack Line Conditions
10 | Frequent Transient Operations | Percentage
11 | Multiphase Operations

## Functionality
API RP 1130 Reference
1 | Max | Rate of False Alarms |  | %
1 | Max | Rate of Misses |  | %
5, 6 | Min | Sensitivity: | 1-min
5-min
10-min
30-min
1-hr
6-hr
7 | Reqd.? | Leak Location Estimation
12 | Min | Robustness |  | %
13 | Min | Availability |  | %

## Considerations
API RP 1130 Reference
2 | Min Available | Instrumentation Accuracy | %
3 | Max Necessary | Personnel Training and Qualification
14 |  | Is this a Retrofit?
15 | Max Necessary | Testing
16 | Max Necessary | Cost | $
17 | Max Necessary | Maintenance
CFR Regulatory Requirements
Is this pipeline in an HCA or hazardous class location?
Is this pipeline subject to 49 CFR 195.444 i.e. API RP 1130 codes?
Is this pipeline subject to 49 CFR 195.452(i)(3) Leak Detection requirements?