## Title
PHMSA Project DTPH-5615H00007
Improving Leak Detection System Design, Redundancy and Accuracy
Examples and Templates
Template for Leak Detection System Testing and Maintenance
Kiefner & Associates
4480 Bridgeway Avenue, Suite D
Columbus, OH 43219
T +1 (614) 888-8220, F +1(614) 888-7323
www.kiefner.com
Kiefner and Associates, Inc. shall not be liable for any decisions made by the U.S. Department of Transportation, Pipeline and Hazardous Materials Safety Administration, (hereinafter referenced herein as PHMSA), using these Excel Spreadsheet calculations, known as “Template for Leak Detection Testing and Maintenance.” Further, the equations contained in the Template for Leak Detection Testing and Maintenance are confidential and the intellectual property of Kiefner and Associates, Inc. and shall be maintained by PHMSA in accordance with Agreement #DTPH5614H00007, “Improving Leak Detection System Design Redundancy and Accuracy” executed by and between Kiefner and Associates, Inc. and PHMSA on December 31, 2013, and any subsequent executed Modifications to same.

## Testing
API RP 1130 Factors
Purpose of test | Test Strategy | Date | Time | Location of test | Test Method | Parameters | Operating Conditions | Alarms Triggered | Current Design Sensitivity |  | Comparison with Requirements, Design, History (Pass / Fail)
[9 empty] | Rate / Volume | Time | Failed to Alarm | Alarmed too Soon | Met Sensitivity Requirement | Accuracy of Location

## Scorecard
Performance Indicators
Period
From | To | Zero Leaks | Zero Reportable Leaks | % Alarms Rationalized | No. of False Positives | Total Time in Alarm State | % (miles) where LDS meets Design | % Uptime of LDS | % Uptime of Associated Equipment | No. of Tests (annualized) | No. of Failures / Repairs (LDS) | No. of Failures / Repairs (Equipment)
Material Performance Changes | [6 empty] | Time since last System re-tune / Evaluation
| Threshold / Tuning Change |  | System Re-Design |  |  |  |  | days
Date | From | To | From | To

## Equipment
Touching Equipment and Instrumentation
This list only refers to activity on instrumentation related to LDS.
Purpose of test / maintenance | Date | Time | Location of equipment | Test / Maintenance Procedure | Parameters | Action / Impact on LDS

## Training
Period |  |  | API RP 1175 |  |  | API RP 1175
From | To | Staff Trained | % Controllers Trained | Total Staff Trained | Total % Controllers Trained | No. of LDS Performance Reviews | No. Staff Assigned to LDS