
Quarterly Report – Public Page
 
Date of Report: 9th Quarterly Report, December 31, 2025
Contract Number: 693JK32310010POTA
Prepared for: Government Agency: DOT and Co-funders
Project Title: Standardize the Application of Vapor Corrosion Inhibitors
Prepared by: Pipeline Research Council International (PRCI), Inc.
Contact Information:  Janie Norton, jnorton@prci.org 703-205-1600 ext: 105
For quarterly period ending: December 31, 2025
1: Items Completed During this Quarterly Period:
	Item #
	Task #
	Activity/Deliverable
	Title
	Federal Cost
	Cost Share

	22
	3
	Analyze coupons and corrosion probe data from the VCI effect experiments
	Summary of the results to be included in the quarterly report
	$20,848
	$5,212

	23
	4
	Continue developing the VCI application best practice guidance
	Summary to be included in the quarterly report
	$10,424 
	$2,606 

	24
	5
	9th quarterly status report & project management
	Submit 9th quarterly report
	−
	−


2: Items Not Completed During this Quarterly Period:

None.

3: Project Financial Tracking During this Quarterly Period: 
Note that this chart reflects Federal share only:

[image: image1]
4:  Project Technical Status –
Item 22, Task 3 ( Analyze coupons and corrosion probe data from the VCI effect experiments. Summary of the results to be included in the quarterly report: The VCI effect experiments were conducted at chloride levels of 30 and 300 ppm and moisture saturation of 50 and 75%.  The experiments included both continuous and intermittent contact with the sand pad.  The coupons corrosion rate data for the continuous contact with the sand pad is listed in Table 1.  The coupons corrosion rate data for the intermittent contact with the sand pad is listed in Table 2.  It was determined that chloride level of 300 ppm was too corrosive for VCIs to overcome the sand pad corrosive conditions, therefore, corrosion rates with 300 ppm chloride concentrations are not reported.  Discussions were held with VCI manufacturers who suggested using an alternative VCI chemistry to mitigate corrosion at chloride levels higher than 100 ppm.
	Table 1.  Coupon Corrosion Rate for Control and VCI Effect Experiments with Continuous Contact Between Sand Pad and Coupons 

	Water Saturation (%)
	Chloride (ppm)
	Control
Experiment Coupons Corrosion Rate
(mpy)
	VCI-A Effect Experiment Coupons
Corrosion Rate (mpy)
	VCI-B Effect Experiment Coupons
Corrosion Rate (mpy)

	50
	30
	5.1 ± 3.6
	0.2 ± 0.2
	0.001 ± 0.001

	50
	300
	6.4 ± 2.0
	−
	−

	75
	30
	3.5 ± 1.2
	0.03 ± 0.01
	0.00 ± 0.00

	75
	300
	7.2 ± 1.1
	−
	−


	Table 2.  Coupon Corrosion Rate for Control and VCI Effect Experiments with Intermittent Contact Between Sand Pad and Coupons 

	Water Saturation (%)
	Chloride (ppm)
	Control
Experiment Coupons Corrosion Rate
(mpy)
	VCI-A Effect Experiment Coupons
Corrosion Rate (mpy)
	VCI-B Effect Experiment Coupons
Corrosion Rate (mpy)

	50
	30
	3.8 ± 0.4
	0.04 ± 0.003
	0.07 ± 0.05

	50
	300
	7.8 ± 2.6
	−
	−

	75
	30
	9.2 ± 0.8
	0.03 ± 0.004
	0.06 ± 0.01

	75
	300
	12.5 ± 5.0
	−
	−


It is clear from the data in Tables 1 and 2 that both VCIs were highly effective in mitigating corrosion at 30 ppm of chloride, however, an alternative VCI technology needs to be deployed when dealing with chloride levels of 300 ppm.
This activity links to item 8 in Attachment 1 Team Project Activities.  This activity links to item 10 in Attachment 2 Project Deliverables.
Item 23, Task 4 ( Continue developing the VCI application best practice guidance. Summary to be included in the quarterly report: As a part of developing the guideline, a comparison is made between API TR 655 and AMPP SP 21474; both documents’ overall scope includes application and monitoring of the VCIs for the aboveground storage tank bottoms.  The comparison is listed in Table 3; the comparison was listed in the eighth quarterly report, additions are made in the comparison list in a separate column and are highlighted. The additions are based on the new knowledge developed from the VCI effect experiments.
	Table 3.  Comparison Between API TR 655 and AMPP SP 21474

	Scope
	API TR 655
	AMPP SP 21474
	Guideline

	VCI Application Method
	Includes application description for both in-service and out of service tanks.

Both single and double bottom tanks.
	Provides recommendations and methods for applying VCIs to both single and double bottom tanks.
	Before introducing VCIs, it is recommended to collect sand samples are analyze the samples for chloride levels, if chloride levels are above 100 ppm, it is recommended that VCI vendors are to consulted before undertaking the VCI application.

	VCI monitoring
	The document recommends using coupons, ER probes, and UT probes.
	The document recommends using mass-loss based technologies including coupons for monitoring.

Specific recommendations for placing and reading the monitoring tools.

The placement of the monitoring tools based on the API 653 floor inspection data is also recommended.


	

	VCI reapplication criterion
	No specific reapplication criterion is provided in the document.  However, the document mentions using monitoring data as a basis to determine the replication timeframe.
	The following criterion is mentioned: if a 5-mpy, or greater, corrosion rate is measured with a monitoring device over 2-consecutive measurement periods, the VCI shall be replenished. At a minimum, the VCI shall be replenished within the specific tank quadrant area where the corrosion monitoring device is located.  In addition, if the tank bottom inspection results identify corrosion indications of 5-mpy, or greater, the VCI shall be replenished.


	

	VCI reinjection/replenishment dosages
	No information is provided.
	No information is provided.
	Before VCIs are to be reapplied/reinjected, it is recommended that sand sampling should be conducted at a smaller scale compared to the initial application step.  The sand sampling and corresponding analysis will ensure that adequate reinjection dosages are applied.

	VCI and CP compatibility
	The document mentions the following:

i) synergistic effect of VCI on CP, and 

ii) VCIs effect on tank pad resistivity and overall effect on groundbed resistance.
	Not mentioned in the documents.
	


This activity links to item 10 in Attachment 1 Team Project Activities.  This activity links to item 12 in Attachment 2 Project Deliverables.
References: 

1) API, API Technical Report (TR) 655: Vapor Corrosion Inhibitors for Storage Tanks, Washington, DC: American Petroleum Institute (API), 2021.
2) AMPP, AMPP SP21474: External Corrosion Control of On-Grade Carbon Steel Storage Tank Bottoms, Houston, Texas: AMPP International, Standard Practice (SP) 21474, 2023.
3) API, API Standard 653: Tank Inspection, Repair, Alteration, and Reconstruction, Washington, DC: American Petroleum Institute (API), 2014.
Item 24, Task 5 ( 9th quarterly status report & project management. Submit 9th quarterly report: The ninth quarterly meeting was held on December 4, 2025.  This report satisfies this item.  This activity links to items 11 and 13 in Attachment 1 Team Project Activities.  This activity links to item 13 in Attachment 2 Project Deliverables.

5: Project Schedule – 
The project is on schedule.

[image: image2.png]Quarter 1

Quarter 2

Quarter 3

Quarter 4

Quarter 5

Quarter 6

Quarter 7

Quarter 8

Quarter 9

Quarter 10

Quarter 11

Quarter 12

Invoice Running Total

Total Project Amount

Remaining Amount
Not Yet Invoiced

"Quarterly Payable Milestones/Invoices - 693JK32310010POTA"

h 526,053.00
7,985.00 W Total Project Amount

F 123,625.00 . .
7,985.00 $ B OTA Projected Invoice
12,660.00 $101,690.00 B Actual Invoice
ﬂ.’,o, 81.00 ® Remaining Amount
351 084.00

, Not Yet Expended
14,745.00
=$ ,533.00

il 498 003 00

= $10,424.00

| $93,002.00

$284,129.00
$400,004.00

T e $115,875.00

S0 $50,000 $100,000 $150,000 $200,000 $250,000 $300,000 $350,000 $400,000 $450,000



